## Pre-Incident Survey Checklist

1. Cover Sheet:  Building / Business name with address and date completed.

2. Table of Contents

3. Site location on section map.  (½ mile and 1 mile radius marked if hazardous materials are involved.)

4. Site Plan  (Overhead view of entire site) Including:

- Hydrant locations

- Utilities: location of gas, electricity, water, overhead wires, drains and retention ponds, unusual hazards, obstacles, haz mat, confined spaces, open wells, etc.

- Access roads for emergency vehicles.

5. Roof drawings and Aerial photos including:

- Access points

- Heating and cooling units

- Axis of truss, rafter layout

- Location of skylights

- Unusual hazards or obstacles

- Construction Type

6. Floor Plans (beginning with the lowest floor on up).   Including:

- Stairways, doors, fire escapes.

- Utility shut offs

- Location of unusual hazards

- Alarm system panel location and zone map (if available)

- FDC Location

- Sprinkler system controls and areas protected

- Other suppression systems: ie. Hoods, ect.

- Location of Haz materials

- Location of MSDS sheets

- Roof access locations

- Key Box Location

7. Photos or other pertinent information.